Combing Protocol (Adapted from Genomic Vision by Cortez Lab, SRW, KPMM)

Pre-Day 1: Split cells into a 6 well plate (or 35 mm dish) so that they will be about 50-70% confluent the next day.  Cells cannot become too confluent or they will not be cycling.  Equilibrate a flask of media overnight with a loose cap in the incubator to use for dilutions the next day.  A flask of HBSS should be equilibrated overnight as well.

Note:  Buffer “numbers” are based on the Genomic Vision DNA extraction kit.  This kit can either be purchased or made in-house. Silanized coverslips and Teflon reservoirs are purchased from Genomic Vision.  This protocol is well worked through.  Although antibody concentrations can likely be decreased, those specified ensure good signal across all coverslips in a given experiment.

Day 1 – Need heat blocks or water baths at 68C and 50C, will need 50C overnight (I use the thermocycler).

- Treat cells with 20 µM CIdU for 20 minutes.

  - All dilutions should be done using equilibrated media.

  - CldU is resuspended in 1 N ammonium hydroxide at 20 mg/mL or 76.1 mM

  - IdU and CldU are in 20 µL aliquots, stored at -20

- Rinse 2x equilibrated HBSS (2 mLs per rinse).

- Treat with 100 µM ldU for 20 minutes.

  - IdU is resuspended in 1 N ammonium hydroxide at 50 mg/mL or 141.2 mM

- During ldU treatment (or earlier), place Buffer 2 (agarose for plugs) at 68C for at least 10 min to melt it, then place at 50C to keep warm.

- Wash the wells 2x with equilibrated HBSS.

- Trypsinize the cells at Room Temperature (300 µL/well for a 6-well plate).

- Use ~500 µL media to suspend cells and add to eppendorf tube.  Spin cells down at 2000 rcf for 2 minutes.

- Aspirate media and resuspend cells in ice cold PBS.

  - Usually ~500 uL of PBS for RPE cells.

- Determine the cell concentration for each condition.

- Transfer 150,000 cells (or appropriate number for the cell line you’re using) to a new Eppendorf tube.

  - If you have less than the desired cell number, you can still proceed but will just have a lower density of fibers on the coverslip.

  - 200,000 cells is good for RPE.  300,000 cells for U2OS. 450,000 for HCT

- Pellet cells at 150 rcf for 5 minutes (very slow, not a typo)

- Pipette off PBS and add 45uL of Buffer 1. Homogenize well by pipetting – do not want any clumps of cells.

- Place at 50C for at least 10 seconds to warm cell solution.

- Add 45uL of Buffer 2 and pipette up and down at 50C to homogenize.

- Pipette all 90uL into DNA plug molds

- Place the plug mold in a freezer box (careful that it does not touch the top when closed) and put at 4C for 30min

  - Can leave the plugs at 4C for several hours if needed

- For each plug, take one tube of Buffer 3 (we make this and it already contains the proteinase, store -20)

  - Must be made fresh

- Remove tape from the bottom of the plug mold and use the plunger from the end of the mold to push the solidified plugs into the Buffer 3 solution.  Make sure plugs are completely immersed.

  - Easiest to push plugs out from the bottom

- Place at 50C for 30 min

- Invert the tubes gently a few times to mix, then leave at 50C overnight.

Day 2 – Need heat blocks or water baths at 68C and 42C toward the end of the day, will need 42C overnight.  If using water baths, will need to use aluminum block to stabilize tubes.

- Buffer 4 (this is just Dnase free TE pH 8.0) Will need 45mL per plug.

- Pour off majority of liquid from plugs (plug should stick to side of tube) and transfer to 15mL conical filled with Buffer 4.

  - Important to use 15mL of buffer in each tube to avoid breaking the plugs during rotation.

  - Transfer plug to tube after 15mL of buffer has been added, not before.

- Rotate at room temp for at least 1 hour

- Pipette off majority of buffer (plugs should settle to the bottom of the tube), being careful not to pipette too close to the plug as they are very delicate.  Can leave 1-2mL of buffer in the bottom of the tube.

- Slowly add another 15mL of Buffer 4 down the side of the tube.  Rotate 1+ hour.

- Repeat steps 4 & 5.

  - 3 washes throughout the day is sufficient.  Each at least 1hr, but exact timing isn’t important.

- Optional stopping point: After washing in Buffer 4, plugs can be transferred to 5mL of Buffer 5 and stored at 4C for up to 1 year.  If you do not need to store plugs, proceed to step 9.

- If plugs were stored in Buffer 5, wash twice for 1+ hour with 15mL diluted Buffer 4 before proceeding to the next step.

- Put 1mL of Buffer 7 into a 2mL Eppendorf tube and transfer plug using a spatula.  Make sure plug is completely immersed.

- Incubate at 68C for 20min.

  - At this point, the DNA is unprotected from mechanical shearing so avoid shaking, vibration, etc.  If using a water bath, use aluminum block for tubes to protect them from moving around.

- Transfer the tubes to 42C carefully and incubated for 10min.

  - Do not leave a room temp for long so the agarose does not resolidify.

- Add 1.5uL Component 7 (Agarase) to each tube

  - Do not mix the solution.  Let the Component 7 diffuse spontaneously.

- Incubate overnight at 42C.

Day 3

- Add 1.2mL Buffer 7 to a Combireservoir (1 reservoir per sample)

- Gently pour the DNA solution from 42C into the reservoir

  - Do not pipette or jostle/flick the tube – the DNA will shear.  It is fine to have some solution remaining in the tube as long as the majority makes it into the reservoir.

- Use the Molecular Combing System to comb the DNA onto silanized coverslips.

  - Place combed coverslips in a 6 well dish – both sides have DNA on them but only one will be stained

  - If possible, try to keep the coverslip oriented so you know the direction of the DNA fibers (this can be done with the engraved serial number on the coverslip.  It is much easier to image when the fibers are horizontal rather than verticalas this fits the aspect of the microscope camera

- Dehydrate combed coverslips in an incubator at 65C for 2 hours

  - Store at -20C (sealed with parafilm) after or go directly to staining (there is evidence that overnight at -20 may make for a better signal)

- Denature combed coverslips in 0.5M NaOH + 1M NaCl solution for 8min at room temperature (make fresh)

  - When adding liquid, use a needle to hold the coverslip down to prevent it from floating up. The coverslips are very hydrophobic until after step 7.

  - No longer than 8 min.

  - 1g NaOH pellets + 2.93g NaCl in 50mL water

- Rinse 3x in PBS

- Dehydrate the coverslips in 70% EtOH for 5 min

- Dehydrate the coverslips in 90% EtOH for 5 min

- Dehydrate the coverslips in 100% EtOH for 5 min

- Let dry at room temp

  - Make sure to use a needle to flip the coverslip up at this point.  Otherwise there is a chance it will become stuck to the bottom of the dish

- Incubate 1 hour in 10% goat serum/ PBSTr (0.1% Triton in PBS).

  - Sterile filter serum, reduces background staining

  - Serum can be reused, save and add sodium azide

- Incubate 1 hour in rat monoclonal anti-BrdU (anti-CldU, 1:25), mouse anti-BrdU (anti-IdU 1:5) diluted in 10% goat serum/PBSTr.

  - Add 100 µL antibody to parafilm and invert coverslip on top, make sure no air bubbles are present

  - All incubations are done in the dark, easiest to just stick in a drawer

- Rinse 3x in PBS

- Incubate 30 minutes with secondary antibodies in dark (1:350).  Goat anti-rat IgG Alexa Fluor 594, Goat anti-mouse Alexa Fluor 488 in 10% goat serum/PBSTr.  100 µL per slide inverted onto parafilm.

- Rinse 3x in PBS

- Air dry in the dark

- Mount each with ~30 µL Prolong Gold without DAPI

  - Minimize air bubbles

- Let dry overnight in the dark and your slides are ready

  - Can add nail polish to corners for immediate viewing

  - After slides have dried overnight at room temperature, place them in a slide box.

- After secondary antibodies are added to the slides, protect the slides from light as much as possible.

Day 4

- Look for fibers under the red channel (IdU is green, CldU is red) to minimize photobleaching (green may easier to find)

- Fibers will be in the same plane as background specks. Go slow, fibers have a very small field of focus and are easy to pass by. Be patient and do not give up.

-  Take a minimum of 20 pictures per condition, 5 from each quadrant of the coverslip.