Flow Cytometry – Propidium Iodide & BrdU

Preparation

- Add 10uM BrdU (final concentration) to cells 20-40 minutes prior to harvesting.

- Harvest cells and resuspend 5x105 cells per sample in 300 µL PBS on ice

- Add slowly 700 µL ice cold Ethanol and mix gently by inverting tube

- Fix for at least 2 hour on ice or in -20. *Samples can stay at -20 overnight or longer

- Spin down at 2000 xg for 5 minutes. Aspirate carefully. Dave suggests centrifuging for 2min then turning tubes 180 degrees and centrifuging another 2min.

- Break up cell pellet by running along an eppendorf tube rack

- Add 1 mL 0.5% BSA/PBS.

- Spin down at 2kxg for 5 minutes. Aspirate carefully.

- Break up cell pellet by running along an eppendorf tube rack

- Add 1mL 2N HCl + 0.5% triton-x-100/PBS (see recipe below)

- Incubate 30 mins RT

- Spin down at 2k xg for 5 minutes. Aspirate carefully.

- Break up cell pellet by running along an eppendorf tube rack

- Add 1mL 0.1M Na-borate, incubate 2 mins.

- Spin down at 2k xg for 5 minutes. Aspirate carefully.

- Break up cell pellet by running along an eppendorf tube rack

- Add 1 mL 0.5%BSA/PBS

- Spin down at 2k xg for 5 minutes. Aspirate carefully.

- Break up cell pellet by running along an eppendorf tube rack

- Add 100 uL of BrdU antibody (1:20 BrdU-488 in 0.5% BSA/PBS/0.5% Tween; Mobu antibody won’t cross react with EdU if you are using both BrdU and EdU.  The other BrdU antibodies will recognize EdU)

- Incubate 30 min RT

- Spin down at 2k xg for 5 minutes. Aspirate carefully.

- Break up cell pellet by running along an eppendorf tube rack

- Add 1 mL 0.5% BSA/PBS

- Spin down at 2k xg for 5 minutes. Aspirate carefully.

- Break up cell pellet by running along an eppendorf tube rack

- Add 500 µL PBS + Propidium Iodide and RNAase A

  - Stock PI at 5 mg/mL, add 5 µL per mL PBS

  - Use RNAase at 4mg/mL, 5 uL per mL PBS

  - Protect from light, PI is light sensitive

- 37 degrees for 30 minutes

- Store at 4 degrees overnight or until ready to use (not longer than overnight)

- Filter cells, place filter gauze over test tube and pipette through cell sample.  Now ready for flow cytometry.

Note: Add yellow tip to end of 1 mL tip to aspirate (or use gel loading tip), rake tubes across tube rack to loosen pellet before adding next solution.  Consider centrifuging for 2 minutes, then turn tubes 180 degrees and centrifuge another 2 minutes to make nice cell pellet. May need to aspirate most of liquid, centrifuge for 2 more minutes, then remove remainder to avoid losing any cells in pellet.

2N HCl Solution

5 mL of 4N HCl (or you can use any other stock and just adjust to a final of 2N HCl)

4.5 mL Water

500 uL 10% triton X-100

The stock of concentrated HCl is usually at 12.1N